| Worksheet Revision : |  |  |  |  | Serial No.: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Customer: |  |  |  | Completed by/Date: |  |  |
| Project: |  |  |  | Reviewed by/Date: |  |  |
| SOR No.: |  | Quote No. |  | System Item No.: |  |  |

Mains Power : 	   85 to 264V AC (47 to 440Hz) <and> 110 to 264V DC            Optional Low Voltage DC (18 to 36V )

Head Pairs and Mounting Hardware ( all sizes in mm )

N1 	 N2	 N3	 N4

Nominal Head Pair Sizes: should be 50mm larger than bus bar to accommodate mounting hardware

Mounting Channels: 2 pieces provided with each head pair ( standard : N# mm + 165mm )

Head Clamp Threaded Rods: 4 pieces provided with each system ( standard : 105mm )

Bus Clamp Threaded Rods: 2 pieces provided with each head pair ( standard : N# mm + 70mm )

|---0.25%----|	 |---0.75%---|

|---------0.50%--------|	          Head Pair Combination

|--- 0.50% --|	             measurement accuracies

Cable Lengths			Standard	Custom

Head Pair Cable Stubs	 2m		      m

ITC Cable			 5m		      m

Instrument Output Cable	 2.5m	      m

Process Output Cable	 10m 	      m

Mains Power Cable		 10m  	      m

LVDC Mains Power Adapter  2m		      m

Carry / Transport Cases	     Hard Side ( <3 head pairs & Meter Unit)	    Soft Side (ITC, output & mains cables)

| Main / Std. Outputs |  |  |  |  |  |  |  |  |  |  |  | 0% F.S. | Cal.Pt. kA Std. Cal. Pt. is + 100% of F.S. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Main Measuring Range→ |  |  |  | - 100% F.S. - kA |  |  | 0kA | + 100% F.S. + kA |
| Output Type Choose One | Current 1 |  |  |  | “0 to 20 mA” |  |  |  | -20mA |  |  | 0mA | +20mA |
|  | Current 2 |  |  |  | “4 to 20 mA” |  |  |  | -12mA |  |  | +4mA | +20mA |
|  | Current 3 |  |  |  | “4 to 20 mA” |  |  |  | +4mA |  |  | +12mA | +20mA |
|  | Voltage 1 |  |  |  | “0 to 1 Volt” |  |  |  | -1 Volt |  |  | 0 Volts | +1 Volt |
|  | Voltage 2 |  |  |  | “0 to 10 Volts” |  |  |  | -10 Volts |  |  | 0 Volts | +10 Volts |
| Trip Setpoint 1: |  | kA |  |  |  | Forward | Reverse |  |  | Not Used |  | trip must be within +/-5% to +/-100% of Main F.S.. |  |  |
| Optional“PE”Outputs ( Protection Extension ) None |  |  |  |  |  |  |  |  |  |  | (“-“ not used for Sigma) | 0% F.S. | Cal.Pt. kA Std. Cal. Pt. is + 100% of F.S. |
|  |  |  |  |  | PE Measuring Range→ |  |  |  |  |  | -100% F.S. - kA | 0kA | +100% F.S. + kA |
| Output Type Choose One | Current 1 |  |  |  | “0 to 20 mA” |  |  |  |  |  | -20mA | 0mA | +20mA |
|  | Current 2 |  |  |  | “4 to 20 mA” |  |  |  |  |  | -12mA | +4mA | +20mA |
|  | Current 3 |  |  |  | “4 to 20 mA” |  |  |  |  |  | +4mA | +12mA | +20mA |
|  | Voltage 1 |  |  |  | “0 to 1 Volt” |  |  |  |  |  | -1 Volt | 0 Volts | +1 Volt |
|  | Voltage 2 |  |  |  | “0 to 10 Volts” |  |  |  |  |  | -10 Volts | 0 Volts | +10 Volts |
| Trip Setpoint 2: |  | kA |  |  |  | Forward |  | Reverse |  |  | Not Used | trip must be within +/-5% to +/-100% of PE F.S. trip must be within +/-5% to +/-100% of PE F.S. |  |  |
| Trip Setpoint 3: |  | kA |  |  |  | Forward |  | Reverse |  |  | Not Used |  |  |  |
| Optional Display : None |  |  |  |  |  | DC (DC Applications) |  |  |  |  | True RMS (AC or Pulse Applications) |  |  |  |

Special Instructions on 2nd page

ALL COMMENTS, CORRECTIONS AND/OR CHANGES MUST BE INITIALED AND DATED

Serial No.:

Special Instructions :

NOTE : All Comments, Corrections and/or Changes Must be Initialed and Dated